## Magnetic refrigeration system

MAGNETIC REFRIGERATION SYSTEM

Introduction

Refrigeration can be defined simply as ‘the process of removing heat from a body to maintain the temperature of the body below that of that of its surrounding’. The science of refrigeration utilizes several methods for providing low temperatures. Everybody is familiar with the vapour compression cycle, which is to date the most popular cycle, used for refrigeration, both for industrial & commercial purpose.

However there are various limitations in using vapour compression system. The major drawback of the vapour compression system is that it requires a compressor to compressor to compress a large volume of refrigerant vapour which requires a large power for its operation. In addition it has poor COP as compared with the Carnot cycle, environmental hazards like Global warming, limit to the lowest temperature reached as its drawbacks. Hence we have to continuously look for alternative methods for refrigeration. 

A large research is going on non-conventional refrigeration systems to produce very low temperatures which includes Thermo-electric refrigeration, Pulse tube refrigeration, Vortex tube refrigeration etc. 

'MAGNETIC REFRIGERATION' is one of such techniques, which promises to be of practical importance. Even though the concept is still into research, 20 years down the line we can expect it to be widely used.

CHAPTER-1
INTRODUCTION
Magnetic refrigeration is a cooling technology based on the magneto caloric effect. It is an alternate method of producing refrigeration.This technique can be used to attain extremely low temperatures (well below 1 kelvin), as well as the ranges used in common refrigerators, depending on the design of the system. The objective of this effort is to study the Magnetic Refrigeration which uses solid materials as the refrigerant. These materials demonstrate the unique property known as magneto caloric effect, which means that they increase and decrease in temperature when magnetized/demagnetized. This effect has been observed for many years and was used for cooling near absolute zero. Recently materials are being developed which have sufficient temperature and entropy change to make them useful for a wide range temperature applications. Benefits of magnetic refrigeration are lower cost, longer life, lower weight and higher efficiency because it only requires one moving part-the rotating disc on which the magneto caloric material is mounted. The unit uses no gas compressor, no pumps, no working fluid, no valves and no ozone destroying chlorofluorocarbons/hydro chlorofluorocarbons. potential commercial applications include cooling of electronics, super conducting components used in telecommunications equipment, home and commercial refrigerator ,heat pumps, air conditioning for homes, offices and automobiles and virtually any places where refrigeration is needed. 
With rapid phase out of chlorofluorocarbons (CFCs) and hydro chlorofluorocarbons (Huffs), however many researchers and users are looking at an alternative or not in kind technologies for performing heating and cooling duties. The magnetic refrigeration is nothing but the same not in kind technology. The report deals with the construction, working & advantages of the system.
The magnetic refrigeration is based on the magneto-caloric effect i.e. ability of some material to get heated when some magnetic field is applied to them & get cooled when magnetic field is removed.
The currently used refrigeration system i.e. vapor compression refrigeration system is not environmental friendly. Since it is causing depletion of ozone layer & thus promoting Global Warming. Hence alternative system is required.
Compare with the vapor compression refrigeration system, magnetic refrigeration system offers no. of advantages on part of space & efficiency but the main thing is that it is environmental friendly.
This finds great importance now a day because of the world wide ban of environmental damaging substance like chloroflurocarbon, which is used in conventional vapor compression refrigeration. Magnetic refrigeration is based on phenomenon called magneto caloric effect. A quick review of the different stages of development made in magnetic refrigeration is done in this paper. 
CHAPTER-2
HISTORY
The effect was discovered in pure iron in 1881 by E. Warburg. Originally, the cooling effect varied between 0.5 to 2 K/T. 
Major advances first appeared in the late 1920s when cooling via adiabatic demagnetization was independently proposed by two scientists: Debye (1926) and Giauque (1927). The process was demonstrated a few years later when Giauque and MacDougall in 1933 used it to reach a temperature of 0.25 K. Between 1933 and 1997, a number of advances in utilization of the MCE for cooling occurred. This cooling technology was first demonstrated experimentally by chemist Nobel Laureate William F. Giauque and his colleague Dr. D.P. MacDougall in 1933 for cryogenic purposes (they reached 0.25 K) 
Between 1933 and 1997, a number of advances occurred which have been described in some reviews. In 1997, the first near room temperature proof of concept magnetic refrigerator was demonstrated by Prof. Karl A. Gschneidner, Jr. by the Iowa State University at Ames Laboratory. This event attracted interest from scientists and companies worldwide that started developing new kinds of room temperature materials and magnetic refrigerator designs. 
Refrigerators based on the magnetocaloric effect have been demonstrated in laboratories, using magnetic fields starting at 0.6 T up to 10 teslas. Magnetic fields above 2 T are difficult to produce with permanent magnets and are produced by a superconducting magnet (1 tesla is about 20,000 times the Earth's magnetic field). 
• MAGNETO CALORIC EFFECT 
The Magneto caloric effect (MCE, from magnet and calorie) is a magneto-thermodynamic phenomenon in which a reversible change in temperature of a suitable material is caused by exposing the material to a changing magnetic field. This is also known as adiabatic demagnetization by low temperature physicists, due to the application of the process specifically to affect a temperature drop. In that part of the overall refrigeration process, a decrease in the strength of an externally applied magnetic field allows the magnetic domains of a chosen (magnetocaloric) material to become disoriented from the magnetic field by the agitating action of the thermal energy (phonons) present in the material. If the material is isolated so that no energy is allowed to (e) migrate into the material during this time (i.e. an adiabatic process), the temperature drops as the domains absorb the thermal energy to perform their reorientation. 
CHAPTER-3
CONSTRUCTION AND WORKING
COMPONENTS REQUIRED 
1. Magnets 
2. Hot Heat exchanger 
3. Cold Heat Exchanger 
4. Drive 
5. Magneto caloric wheel
1) Magnets: - Magnets are the main functioning element of the magnetic refrigeration. Magnets provide the magnetic field to the material so that they can loose or gain the heat to the surrounding and from the space to be cooled respectively. 
2) Hot Heat Exchanger: - The hot heat exchanger absorbs the heat from the material used and gives off to the surrounding. It makes the transfer of heat much effective. 
3) Cold Heat Exchanger:-The cold heat exchanger absorbs the heat from the space to be cooled and gives it to the magnetic material. It helps to make the absorption of heat effective. 
4) Drive: - Drive provides the right rotation to the heat to rightly handle it. Due to this heat flows in the right desired direction. 
Magneto caloric Wheel: - It forms the structure of the whole device. It joins both the two magnets to work properly. 
WORKING PRINCIPLE 
When the magnetic material is placed in the magnetic field, the thermometer attached to it shows a high temperature as the temperature of it increases. But on the other side when the magnetic material is removed from the magnetic field, the thermometer shows low temperature as its temperature decreases 
• WORKING
The magnetic refrigeration is mainly based on magneto caloric effect according to which some materials change in temperature when they are magnetized and demagnetized. Near the phase transition of the magnetic materials, the adiabatic application of a magnetic field reduces the magnetic entropy by ordering the magnetic moments. This results in a temperature increase of the magnetic material. This phenomenon is practically reversible for some magnetic materials; thus, adiabatic removal of the field revert the magnetic entropy to its original state and cools the material accordingly. This reversibility combined with the ability to create devices with inherent work recovery, makes magnetic refrigeration a potentially more efficient process than gas compression and expansion. The efficiency of magnetic refrigeration can be as much as 50% greater than for conventional refrigerators. 
The process is performed as a refrigeration cycle, analogous to the Carnot cycle, and can be described at a starting point whereby the chosen working substance is introduced into a magnetic field (i.e. the magnetic flux density is increased). The working material is the refrigerant, and starts in thermal equilibrium with the refrigerated environment. 
Adiabatic magnetization: The substance is placed in an insulated environment. The increasing external magnetic field (+H) causes the magnetic dipoles of the atoms to align, thereby decreasing the material's magnetic entropy and heat capacity. Since overall energy is not lost (yet) and therefore total entropy is not reduced (according to thermodynamic laws), the net result is that the item heats up (T + ΔTad). 
Isomagnetic enthalpic transfer: This added heat can then be removed by a fluid like water or helium for example (-Q). The magnetic field is held constant to prevent the dipoles from reabsorbing the heat. Once sufficiently cooled, the magnetocaloric material and the coolant are separated (H=0). 
Adiabatic demagnetization: The substance is returned to another adiabatic (insulated) condition so the total entropy remains constant. However, this time the magnetic field is decreased, the thermal energy causes the domains to overcome the field, and thus the sample cools (i.e. an adiabatic temperature change).
Isomagnetics entropic transfer: The magnetic field is held constant to prevent the material from heating back up. The material is placed in thermal contact with the environment being refrigerated. Because the working material is cooler than the refrigerated environment (by design), heat energy migrates into the working material (+Q). Once the refrigerant and refrigerated environment is in thermal equilibrium.
CHAPTER-4
COMPONANT OF SYSTEM
• MAGNETIC MATERIALS 
Only a limited number of magnetic materials possess a large enough magneto caloric effect to be used in practical refrigeration systems. The search for the "best" materials is focused on rare- earth metals, either in pure form or combined with other metals into alloys and compounds. 
The magneto caloric effect is an intrinsic property of a magnetic solid. This thermal response of a solid to the application or removal of magnetic fields is maximized when the solid is near its magnetic ordering temperature. 
The magnitudes of the magnetic entropy and the adiabatic temperature changes are strongly dependent upon the magnetic order process: the magnitude is generally small in antiferromagnets, ferrimagnets and spin glass systems. 
Currently, alloys of gadolinium producing 3 to 4 K per tesla of change in a magnetic field can be used for magnetic refrigeration or power generation purposes. 
Recent research on materials that exhibit a giant entropy change showed that Gd5(SixGe1−x)4, La(FexSi1−x)13Hx and MnFeP1−xAsx alloys, for example, are some of the most promising substitutes for Gadolinium and its alloys (GdDy, GdTy, etc...). These materials are called giant magneto caloric effect materials (GMCE). 
Gadolinium and its alloys are the best material available today for magnetic refrigeration near room temperature since they undergo second-order phase transitions which have no magnetic or thermal hysteresis involved. 
• REGENERATORS 
Magnetic refrigeration requires excellent heat transfer to and from the solid magnetic material. Efficient heat transfer requires the large surface areas offered by porous materials. When these porous solids are used in refrigerators, they are referred to as "regenerators”. Typical regenerator geometries include:

Reference: http://www.seminarprojects.com/Thread-magnetic-refrigeration-full-report?pid=43227#ixzz1Rb8ejezO